## Water Requirements V3
Jefferson County - Planning and Zoning Division
Water Requirement Report Worksheet
Case Number |  | 23-102980RZ
Property Address |  | 29611 Shadow Mountain Dr
ODP/Subdivision Name |  | Shadow Mountain Bike Park
Within MGWOD |  | Yes
Complies with MGWOD
1) Calculate Water Withdrawal and Consumptive Water Use of Proposed Development
FIXED FIELDS | [6 empty] | INPUT | CALCULATED FIELDS |  |  |  |  | INPUT
Type of Proposed Use | Description of Unit |  | Annual Withdrawal per Unit (ac-ft per year) | Daily Withdrawal Per Unit (gpd) |  | Percent Consumptive Use | Number of Units | Total Annual Withdrawal (ac-ft per year) |  | Total Annual Consumptive Use of Water (ac-ft per year) |  | Average Water Withdrawal (gpd) | Occupancy Factor Per Year (days)
Bike Park Guests | People |  | 0.012614 | 15 |  | 16% | 1200 | 15.1368 |  | 2.4219 |  | 18000 | 274
Bike Park Staff | People |  | 0.016803 | 15 |  | 16% | 80 | 1.3443 |  | 0.21508 |  | 1200 | 365
Total | [7 empty] | 16.481 |  | 2.637 |  | 19200
2) Calculate water requirement in terms of acre-feet per acre per year.
19200 | gallons | x | 365 | days | x | 1 | acre feet | x | 1 | project | = | 0.070284 | acre-feet per acre
1 | day |  | 1 | year |  | 325851 | gallons |  | 306 | acres |  |  | per year
3) Based on water requirements and Section 21 of the LDR, is an Aquifer Test required?
- Since the water requirement does not exceed 0.28 af/a/y, an Aquifer Test is not required with the rezoning application
- Since the water requirement is less than 0.10 af/a/y, an Aquifer Test is not required with the plat or SDP application
4) Aquifer Test Data
WELL DATA |  |  | AQUIFER TEST DATA |  |  |  |  | RECOVERY DATA
Well Permit Number | Total Depth of Well (ft) |  | Static Water Level (ft) | Production Rate (gpm) | Extrapolated Production Rate (gpd) |  | Total Hours Pumped | Water Level When Pumping Stopped (ft) |  | Recovery- Hours After Pumping (hr) |  | Recovery- Water Level (ft) | Percent Recovered
Total
5) Comments
*Well Permit information not provided by applicant
*1200 guests based on revised ODP provided by applicant
*80 bike park staff based on ratio in October 23, 2023 report (300 guests & 20 employees)
*Daily withdrawal (15 gpd) based on Jefferson County OWTS regulations (Camps, day, no meals served (page 106/126) & Montana Planning Guide (Camps with no meals served). Specific use data not provided by applicant. Applicant referenced 4 gpd in the October 23, 2023 Engineering Study prepared by Stantec

## Water Requirement References
Type of Proposed Use | Description of Unit | Annual Withdrawal per Unit (ac-ft per year) | Daily Withdrawal Per Unit (gpd) | Number of Units | Sources | Sq Feet
Bike Park Guests | people |  |  |  | Jefferson County Public Health OWTS Regulations
Bike Park Guests | people
https://dnrc.mt.gov/_docs/water/Water-Rights-Forms/615.pdf
https://www.jeffco.us/DocumentCenter/View/12324/Jefferson-County-Comprehensive-Master-Plan?bidId=
https://www.jeffco.us/DocumentCenter/View/1673/2018-Onsite-Wastewater-Treatment-System-Regulations-PDF?bidId=

## WAA
Water Availability Analysis of the Proposed Development on the Basin Groundwater Resources
|  |  |  | Case Name: | Shadow Mountain Bike Park
|  |  |  | Case Number: | 23-102980RZ
|  |  |  | Date Prepared: | 01.22.24
GIS Calculated
Parameters
Auto Calculated
Table 1: Estimate of Available Groundwater Resources in the Basin
Description | Variable or Equation | Value | Units
Basin area | A | 753.07 | acres
Average depth to groundwater in the basin (based on well permit data) | B | 158.08 | feet
Average depth of wells (based on well permit data) | C | 371.25 | feet
Saturated thickness of aquifer exposed to wells | D=C-B | 213.17 | feet
Estimated average porosity of aquifer | E | 2%
Basin Aquifer Group - alluvium |  | 0% | % of basin
Basin Aquifer Group - highly fractured |  | 1% | % of basin
Basin Aquifer Group - intrusive |  | 63% | % of basin
Basin Aquifer Class - pikes peak |  | 0% | % of basin
Basin Aquifer Group - metamorphic |  | 36% | % of basin
Estimated amount of groundwater in storage | F=A*D*E | 3210.6386 | acre feet
Effective yield of groundwater to wells | G | 50%
Estimate of groundwater in storage available to wells that are less or equal to the average depth | H=F*G | 1605.3193 | acre feet
Estimate of groundwater stored in the basin aquifer per foot of saturated thickness | I=A*E*1-foot thick | 15.0614 | acre feet per foot
Table 2: Analysis of Groundwater Withdrawal, Recharge, and Consumptive Use from Existing Wells in Basin
Equation or Variable | J | K | L=J*K | M | N=L*M | Oe=L-N
Type of Wells in Basin | Number of wells in Basin | Estimated amount of groundwater withdrawal in acre feet per year | Estimated amount of groundwater withdrawal in acre feet per year | Estimated percent returned to recharge groundwater | Estimated amount of groundwater recharge in acre feet per year | Estimated Consumptive Use of Water in acre feet per year
Domestic - household use portion | 12 | 0.3 | 3.6 | 84% | 3.024 | 0.576
Domestic - livestock watering (4 animals*10 gpd*365 days) |  | 0.044809 | 0.53771 | 0% | 0 | 0.53771
Domestic - irrigation portion (1-acre*28 inches of water per year) |  | 0.66 | 7.92 | 10% | 0.792 | 7.128
Domestic (household use, irrigation, domestic livestock) | 12 | 1 | 12 | 31.8% | 3.816 | 8.184
Household Use | 57 | 0.3 | 17.1 | 84% | 14.364 | 2.736
Unaccounted HU wells based on existing structures (non vacant lots) | 30 | 0.3 | 9 | 84% | 7.56 | 1.44
Commercial | 0 | 0.3 | 0 | 84% | 0 | 0
Municipal (see comments for well af breakdown) | 0 | 4.6 | 0 | 84% | 0 | 0
Totals | 99 |  | 38.1 |  | 25.74 | 12.36
*Wells may be associated with augmentation plan that allow for a lower withdrawal
Table 3: Estimate of Annual Groundwater Recharge to the Basin from Precipitation
Description | Variable or Equation | Value | Units
Basin area | A | 753.07 | acres
Mean annual precipitation based on NWS RFS data | P | 19.27 | inches
Average annual precipitation | Q=(P/12)*A | 1209.3049 | acre feet
Estimated percent of annual precipitation that goes into groundwater recharge | R | 3.5%
Estimate of annual groundwater recharge to the basin from precipitation | S=Q*R | 42.3257 | acre feet
Table 4: Ground Water Resource Impact of Proposed Development
Equation or Variable | J | K | L=J*K | M | N=L*M | Op=L-N
Well Type Associated With Proposed Development | Number of Proposed Wells | Estimated amount of groundwater withdrawal in acre feet per year | Estimated amount of groundwater withdrawal in acre feet per year | Estimated percent returned to recharge groundwater | Estimated amount of groundwater recharge in acre feet per year | Estimated Consumptive Use of Water in acre feet per year
Domestic (household use, irrigation, domestic livestock) | 0 | 1 | 0 | 31.8% | 0 | 0
Household Use | 0 | 0.3 | 0 | 84% | 0 | 0
Commercial | 1 | 16.48 | 16.48 | 84% | 13.8432 | 2.6368
Municipal | 0 | 0 | 0 | 84% | 0 | 0
Totals | 1 |  | 16.48 |  | 13.8432 | 2.6368
*Wells may be associated with augmentation plan that allow for a lower withdrawal than typical well type
Table 5a: Water Availability Analysis on the Basin Based on Existing and Proposed Development
Description | Variable or Equation | Value | Units
Consumptive use impact of existing development (e) | Oe | 12.36 | acre feet per year
Consumptive use impact of proposed development (p) | Op | 2.6368 | acre feet per year
Consumptive use impact of existing and proposed development (t) | Ot | 14.9968 | acre feet per year
Estimate of groundwater recharge to the basin from precipitation | S | 42.3257 | acre feet per year
Groundwater Budget=Groundwater Recharge-Total Consumptive Use | T=S-Ot | 27.3289 | acre feet per year
*If groundwater budget value (T) is positive then the water supply appears to be adequate
*If groundwater budget value (T) is negative then the depth to water level will increase over time
Table 5b: Impact on the Basin Based on Existing and Proposed Development With 0 Recharge From Precipitation
Description | Variable or Equation | Value | Units
Estimated percent of aquifer depletion based on consumptive use of proposed development | U=Op/H | 0.1643%
Theoretical "annual average basin wide" drop in water level due to consumptive use of proposed development with 0 recharge from precipitation | V=Op/I | 0.17507 | feet
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use of the existing and proposed development with 0 recharge from precipitation | W=D/((Ot)/I) | 214.0882 | years
Table 5c: Impact on the Basin Based on Existing and Proposed Development Including Estimated Recharge From Precipitation
Description | Variable or Equation | Value | Units
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use of the existing and proposed development with estimated precipitation recharge | X=D/((T)/I) | NA, since recharge exceeds consumptive use | years
Table 6a: Water Availability Analysis on the Basin Based Existing, on Build out of Platted Lots and Proposed Development
Description | Variable or Equation | Value | Units
Number of lots in basin | Y | 116 | lots
Number of vacant lots in basin | Z | 17 | lots
Number of wells associated with proposed development | J | 1 | wells
Consumptive use impact of build out of vacant lots | AA=Z*K(1-M) | 0.816 | acre feet per year
Table 6b: Impact on the Basin Based on Build out of Platted Lots and Proposed Development Including 0 Recharge From Precipitation
Description | Variable or Equation | Value | Units
Theoretical "annual average basin wide" drop in water level due to consumptive use at full build out based on platted lots and proposed development with 0 recharge from precipitation | AB=(Ot+AA)/I | 1.0499 | feet
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use at full build out based on platted lots, existing, and proposed development with 0 recharge from precipitation | AC=D/((Ot+AA)/I) | 203.0405 | years
Table 6c: Impact on the Basin Based on Build out of Platted Lots and Proposed Development Including Estimated Recharge From Precipitation
Description | Variable or Equation | Value | Units
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use at full build out based on platted lots, existing, and proposed development with estimated precipitation recharge | AD=D/((ITI+AA)/I) | NA, since recharge exceeds consumptive use | years
Table 7a: Water Availability Analysis on the Basin Based on Build out of Platted Lots, Additional Lots Allowed by Zoning and Proposed Development
Description | Variable or Equation | Value | Units
Number of lots in basin | Y | 116 | lots
Number of vacant lots in basin | Z | 17 | lots
Number of wells associated with proposed development | J | 1 | wells
Estimated number of additional lots allowed based on zoning | AE | 53 | lots
Consumptive use impact of existing development | Oe | 12.36 | acre feet per year
Consumptive use impact of build out of vacant lots | AA | 0.816 | acre feet per year
Consumptive use impact of build out of lots allowed by zoning | AF=AE*K(1-M) | 2.544 | acre feet per year
Consumptive use impact of proposed development | Op | 2.6368 | acre feet per year
Table 7b: Impact on the Basin Based on Build out of Platted Lots, Additional Lots Allowed by Zoning and Proposed Development With 0 Recharge From Precipitation
Description | Variable or Equation | Value | Units
Theoretical "annual average basin wide" drop in water level due to consumptive use at full build out based on platted lots, allowed by zoning, and proposed development | AG=(Ot+AA+AF)/I | 1.2188 | feet
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use at full build out based on platted lots, allowed by zoning, existing, and proposed development with 0 precipitation recharge | AH=D/((Ot+AA+AF)/I) | 174.9019 | years
Table 7c: Impact on the Basin Based on Build out of Platted Lots, Additional Lots Allowed by Zoning and Proposed Development With Estimated Recharge From Precipitation
Description | Variable or Equation | Value | Units
Theoretical time it would take to drain the saturated thickness of the basin by the consumptive use at full build out based platted lots, allowed by zoning, existing, and proposed development with estimated precipitation recharge | AI=D/((ITI+AA+AG)/I) | NA, since recharge exceeds consumptive use | years
Comments:
*Inserted Row 50 to account for HU wells for existing structures (99)
*water budget is positive which indicates an adequate water supply

## WAA References
Misc:
· Standard values to use for the WAA were based on data from the USGS's 2003 Hydrologic Conditions and Assessment of Water Resources in the Turkey Creek Watershed and CDM's 2011 Upper Mountain Counties Aquifer Sustainability Project
Link to 2003 USGS Report
Link to 2011 CDM Report
Data Value Sources & References for the Water Availability Analysis (WAA):
· Basin Area – Defined basins are generated from ArcGIS based on USGS 10 Meter Digital Elevation Model (DEM) with each basin having a minimum area of 5 acres.
· Annual Precipitation – Based on the mean data (2005-2013) from the National Weather Service precipitation estimates from their River Forecast Centers (RFCs) which are on 4 by 4 kilometer grid system. The RFCs information is based on both radar and rain gauge data. The annual observed precipitation data from the closest RFC to the development project will be utilized in the WAA. http://water.weather.gov/precip/about.php
· Estimated Recharge from Precipitation – Based on USGS's 2003 Hydrologic Conditions and Assessment of Water Resources in the Turkey Creek Watershed (2%) and the CDM 2011 Upper Mountain Counties Aquifer Sustainability Project (references USGS study), the estimated recharge from precipitation is 2.0%.
· Estimated Recharge from Wastewater Returns – Based on several sources including the DNRs 1974 Consumptive Use of Water by Homes Utilizing Leach Fields for Sewage Disposal (88%), the Water Center of CSU 2007 Consumptive Loss from an ISDS in a Semi-Arid Mountain Environment (84%), the Journal of Hydrology 2010 Consumptive Use and Resulting Leach-field Drainage from a Mountain Residence (80%), and the CDM 2011 Upper Mountain Counties Aquifer Sustainability Project (references each study) the estimated recharge from wastewater returns is 84%.
· Well Data – ArcGIS data is provided by the Colorado Division of Water Resources. The well data will include the number of wells in the basin and the Use (Household, Domestic, Commercial, etc) to determine the volume of water permitted to be removed from the basin. Mean depth of the well and depth to water in the basin will be calculated from the attribute data. Certain uses (Commercial, Municipal, other) will require staff to review the well permit to determine the permitted withdrawal.
· Aquifer Groups – The (Metamorphic, Intrusive, Pike’s Peak, Highly Fractured, and Alluvial) may be used to allow for a range for the Estimated Recharge from Precipitation based on Aquifer Group. Aquifer Group data is based on the CDM 2011 Upper Mountain Counties Aquifer Sustainability Project.